## tea 8-22-17 eric_
OPEN 6.3.4
Tue Aug 22 2017 07:38:20
Unit= | PSC-4474
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | CsMchSD | HsMchSD | CrMchSD | HrMchSD | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "07:42:23 Lamp: Off"
Remark= | "07:42:23 CO2 Mixer -> OFF"
Remark= | "07:42:23 Coolers: Off"
Remark= | "07:42:23 Flow: Fixed -> 500 umol/s"
Remark= | "07:42:56 Lamp: ParIn -> 1500 uml"
Remark= | "07:43:20 Lamp: Off"
Remark= | "07:44:14 Lamp: ParIn -> 1500 uml"
Remark= | "07:45:19 Flow: Fixed -> 0 umol/s"
Remark= | "07:46:06 Flow: Fixed -> 500 umol/s"
Remark= | "07:57:17 Lamp: ParIn -> 1500 uml"
Remark= | "07:57:18 CO2 Mixer -> OFF"
Remark= | "07:57:18 Coolers: Off"
Remark= | "07:57:18 Flow: Fixed -> 500 umol/s"
Remark= | "07:59:33 CO2 Mixer: CO2R -> 400 uml"
Remark= | "08:02:43 Flow: Fixed -> 500 umol/s"
Remark= | "08:04:30 d9 a"
1 | 08:05:37 | 1678.5 | 0 | 0.67628 | 0.0096936 | 273.3777 | 0.24575 | 2.5037 | 29.6775 | 6 | 1.42 | 1 | 2.84 | 28.1057 | 29.6775 | 28.0423 | 399.9358 | 399.0057 | 16.2713 | 16.5615 | 43.1891 | 43.9596 | 499.5576 | 1500.7538 | 0.1051 | 101.3495 | 2.4706 | 0.068841 | 0.31412 | 0.0075799 | 0.29008 | 0.0075642 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8326 | 0.00024575 | 302.8275 | 301.2557 | 240.1206 | 2.3793 | 4.1822 | 41.2648 | 24.7033 | 28.8916 | 3.9966 | 0.0096606 | 1.6785 | 2.3181 | 0.0060408 | 27.7067 | 0.68515 | 38.562 | 398.6843 | 0.00065412
2 | 08:05:43 | 1684.5 | 0 | 0.98066 | 0.0095356 | 220.8867 | 0.24143 | 2.5003 | 29.6603 | 6 | 1.42 | 1 | 2.84 | 28.1127 | 29.6603 | 28.0509 | 399.7817 | 398.4885 | 16.2684 | 16.5536 | 43.1639 | 43.9205 | 499.5991 | 1500.6355 | 0.22084 | 101.3493 | 2.4706 | 0.068841 | 0.31412 | 0.0075799 | 0.29008 | 0.0075642 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83267 | 0.00024143 | 302.8103 | 301.2627 | 240.1017 | 2.3845 | 4.178 | 41.2241 | 24.6705 | 28.8865 | 3.9954 | 0.0095037 | 1.6777 | 2.3177 | 0.0059426 | 22.3867 | 0.55431 | 38.5811 | 398.0223 | 0.00095057
3 | 08:05:48 | 1689.5 | 0 | 0.93442 | 0.009408 | 226.2488 | 0.23872 | 2.5056 | 29.6772 | 6 | 1.42 | 1 | 2.84 | 28.1144 | 29.6772 | 28.0556 | 399.5654 | 398.329 | 16.2599 | 16.5418 | 43.1373 | 43.8853 | 499.5914 | 1500.6661 | 0.21965 | 101.3501 | 2.4706 | 0.068841 | 0.31412 | 0.0075799 | 0.29008 | 0.0075642 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83265 | 0.00023872 | 302.8272 | 301.2644 | 240.1066 | 2.3838 | 4.1821 | 41.2639 | 24.7221 | 28.8958 | 3.9976 | 0.0093769 | 1.6765 | 2.3211 | 0.0058634 | 22.9303 | 0.56799 | 38.5084 | 397.8848 | 0.00090436
Remark= | "08:06:47 d9 b"
4 | 08:07:35 | 1796.5 | 0 | 1.2313 | 0.024459 | 302.7336 | 0.60421 | 2.4516 | 29.6554 | 6 | 1.42 | 1 | 2.84 | 28.0372 | 29.6554 | 28.0118 | 399.5893 | 397.8219 | 16.3099 | 17.0232 | 43.4633 | 45.364 | 499.6117 | 1499.9185 | 0.074398 | 101.346 | 2.4706 | 0.068841 | 0.31412 | 0.0075799 | 0.29008 | 0.0075642 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83269 | 0.00060421 | 302.8054 | 301.1872 | 239.9869 | 2.1931 | 4.1768 | 41.2136 | 24.1904 | 28.8463 | 3.9861 | 0.02425 | 1.7252 | 2.2609 | 0.015175 | 30.6808 | 0.76098 | 40.0606 | 397.2366 | 0.0012418
5 | 08:07:38 | 1799.5 | 0 | 1.3887 | 0.022529 | 284.6428 | 0.55934 | 2.4622 | 29.6773 | 6 | 1.42 | 1 | 2.84 | 28.0423 | 29.6773 | 28.0135 | 399.5137 | 397.5789 | 16.3104 | 16.9707 | 43.4511 | 45.2102 | 499.62 | 1499.8505 | 0.080302 | 101.3447 | 2.4706 | 0.068841 | 0.31412 | 0.0075799 | 0.29008 | 0.0075642 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8327 | 0.00055934 | 302.8273 | 301.1923 | 239.9761 | 2.213 | 4.1821 | 41.2661 | 24.2954 | 28.8598 | 3.9893 | 0.022352 | 1.7199 | 2.2694 | 0.013986 | 28.8471 | 0.71594 | 39.8366 | 396.9188 | 0.0013938
6 | 08:07:43 | 1804.5 | 0 | 1.706 | 0.020389 | 249.6542 | 0.50769 | 2.4677 | 29.6723 | 6 | 1.42 | 1 | 2.84 | 28.0522 | 29.6723 | 28.0196 | 399.604 | 397.3131 | 16.3048 | 16.9042 | 43.4122 | 45.0081 | 499.6166 | 1499.7206 | 0.17123 | 101.3473 | 2.4706 | 0.068841 | 0.31412 | 0.0075799 | 0.29008 | 0.0075642 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83269 | 0.00050769 | 302.8223 | 301.2022 | 239.9553 | 2.2405 | 4.1809 | 41.2533 | 24.3492 | 28.8623 | 3.9898 | 0.020244 | 1.7132 | 2.2766 | 0.012666 | 25.3018 | 0.62836 | 39.6421 | 396.5022 | 0.0017056
Remark= | "08:07:55 d9 c"
7 | 08:08:26 | 1847.5 | 0 | 0.81721 | 0.037229 | 348.8215 | 0.88746 | 2.3764 | 29.4749 | 6 | 1.42 | 1 | 2.84 | 28.015 | 29.4749 | 28.0182 | 400.1603 | 398.7538 | 16.2914 | 17.3388 | 43.4701 | 46.2648 | 499.5768 | 1499.6913 | 0.23264 | 101.3457 | 2.4706 | 0.068841 | 0.31412 | 0.0075799 | 0.29008 | 0.0075642 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83263 | 0.00088746 | 302.6249 | 301.165 | 239.9506 | 2.0735 | 4.1336 | 40.7873 | 23.4485 | 28.7449 | 3.9628 | 0.036747 | 1.7572 | 2.2056 | 0.02301 | 35.3516 | 0.87478 | 41.5555 | 398.3654 | 0.00085247
8 | 08:08:29 | 1850.5 | 0 | 0.72759 | 0.030085 | 345.165 | 0.72784 | 2.4059 | 29.5179 | 6 | 1.42 | 1 | 2.84 | 28.0261 | 29.5179 | 28.021 | 399.9612 | 398.7389 | 16.2895 | 17.1486 | 43.4376 | 45.7284 | 499.6105 | 1500.493 | 0.31649 | 101.347 | 2.4706 | 0.068841 | 0.31412 | 0.0075799 | 0.29008 | 0.0075642 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83268 | 0.00072784 | 302.6679 | 301.1761 | 240.0789 | 2.1501 | 4.1439 | 40.8882 | 23.7395 | 28.772 | 3.969 | 0.02977 | 1.738 | 2.2311 | 0.018634 | 34.9814 | 0.86564 | 40.832 | 398.393 | 0.00074572
9 | 08:08:34 | 1855.5 | 0 | 0.76591 | 0.022524 | 329.2866 | 0.55407 | 2.44 | 29.5766 | 6 | 1.42 | 1 | 2.84 | 28.0391 | 29.5766 | 28.0251 | 399.6669 | 398.482 | 16.2964 | 16.9505 | 43.4239 | 45.1668 | 499.6223 | 1500.4015 | 0.087388 | 101.3491 | 2.4706 | 0.068841 | 0.31412 | 0.0075799 | 0.29008 | 0.0075642 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8327 | 0.00055407 | 302.7266 | 301.1891 | 240.0642 | 2.2301 | 4.1579 | 41.0259 | 24.0754 | 28.8079 | 3.9773 | 0.022347 | 1.7179 | 2.2594 | 0.013983 | 33.3729 | 0.82635 | 40.0403 | 398.1179 | 0.00077031
Remark= | "08:09:25 Flow: Fixed -> 500 umol/s"
Remark= | "08:10:48 d10 a"
10 | 08:11:46 | 2048 | 0 | 1.9596 | 0.057531 | 328.9635 | 1.2947 | 2.2597 | 29.1734 | 6 | 1.42 | 1 | 2.84 | 28.0357 | 29.1734 | 28.0411 | 400.6901 | 397.7183 | 16.2582 | 17.7855 | 43.3309 | 47.4013 | 499.6069 | 1499.6394 | 0.20548 | 101.3499 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83268 | 0.0012947 | 302.3234 | 301.1857 | 239.9423 | 1.9147 | 4.0623 | 40.0819 | 22.2965 | 28.6046 | 3.9307 | 0.056389 | 1.8026 | 2.1281 | 0.035344 | 33.3404 | 0.82713 | 43.8527 | 396.7868 | 0.0021658
11 | 08:11:49 | 2051 | 0 | 2.2088 | 0.048765 | 311.1498 | 1.1181 | 2.2953 | 29.2321 | 6 | 1.42 | 1 | 2.84 | 28.0445 | 29.2321 | 28.0413 | 401.0725 | 397.8854 | 16.2513 | 17.5706 | 43.2902 | 46.8043 | 499.5772 | 1500.4421 | 0.19958 | 101.3492 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83263 | 0.0011181 | 302.3821 | 301.1945 | 240.0707 | 1.9973 | 4.0761 | 40.2184 | 22.6478 | 28.6383 | 3.9384 | 0.047941 | 1.7808 | 2.1576 | 0.030036 | 31.5348 | 0.78201 | 42.9913 | 396.8354 | 0.0023929
12 | 08:11:52 | 2054 | 0 | 2.1851 | 0.042784 | 302.1066 | 0.99411 | 2.3214 | 29.2758 | 6 | 1.42 | 1 | 2.84 | 28.0484 | 29.2758 | 28.0396 | 401.1597 | 398.06 | 16.2425 | 17.4157 | 43.2562 | 46.3806 | 499.5674 | 1500.2631 | 0.25507 | 101.3481 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83261 | 0.00099411 | 302.4258 | 301.1984 | 240.0421 | 2.0533 | 4.0864 | 40.3206 | 22.9049 | 28.6621 | 3.9438 | 0.042149 | 1.765 | 2.1788 | 0.026399 | 30.6179 | 0.75895 | 42.3724 | 397.0213 | 0.002332
Remark= | "08:12:05 d10 b"
13 | 08:13:58 | 2180 | 0 | 1.4186 | 0.016104 | 243.9343 | 0.39733 | 2.4421 | 29.4992 | 6 | 1.42 | 1 | 2.84 | 28.1147 | 29.4992 | 28.0709 | 400.1942 | 398.3005 | 16.2789 | 16.7481 | 43.1841 | 44.4287 | 499.6118 | 1499.1827 | 0.11455 | 101.3433 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83269 | 0.00039733 | 302.6492 | 301.2647 | 239.8692 | 2.3268 | 4.1394 | 40.8455 | 24.0974 | 28.807 | 3.9771 | 0.016014 | 1.6973 | 2.2798 | 0.010017 | 24.7211 | 0.61244 | 39.5967 | 397.6261 | 0.0014127
14 | 08:14:07 | 2189 | 0 | 1.7107 | 0.015736 | 211.8159 | 0.3881 | 2.441 | 29.4897 | 6 | 1.42 | 1 | 2.84 | 28.1301 | 29.4897 | 28.0851 | 400.9326 | 398.6924 | 16.2789 | 16.7371 | 43.1448 | 44.3594 | 499.6408 | 1499.0104 | 0.16652 | 101.3425 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 0.0003881 | 302.6397 | 301.2801 | 239.8417 | 2.3344 | 4.1372 | 40.8236 | 24.0865 | 28.8099 | 3.9778 | 0.015649 | 1.6962 | 2.2816 | 0.0097883 | 21.466 | 0.53128 | 39.585 | 397.8792 | 0.001702
15 | 08:14:14 | 2196 | 0 | 0.85349 | 0.015287 | 295.0114 | 0.37964 | 2.4574 | 29.554 | 6 | 1.42 | 1 | 2.84 | 28.1428 | 29.554 | 28.0942 | 399.8059 | 398.5992 | 16.2789 | 16.7272 | 43.113 | 44.3003 | 499.5963 | 1498.7477 | 0.3602 | 101.3417 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83266 | 0.00037964 | 302.704 | 301.2928 | 239.7996 | 2.331 | 4.1525 | 40.9755 | 24.2483 | 28.8484 | 3.9866 | 0.015205 | 1.6952 | 2.2915 | 0.0095103 | 29.8969 | 0.74012 | 39.3907 | 398.1935 | 0.00084431
Remark= | "08:14:28 d10 c"
16 | 08:15:17 | 2259.5 | 0 | 2.6474 | 0.039414 | 274.6359 | 0.94966 | 2.4031 | 29.6193 | 6 | 1.42 | 1 | 2.84 | 28.1827 | 29.6193 | 28.1532 | 400.103 | 396.4716 | 16.2975 | 17.4181 | 43.0598 | 46.0206 | 499.6224 | 1500.9224 | 0.15706 | 101.337 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8327 | 0.00094966 | 302.7693 | 301.3327 | 240.1476 | 2.0472 | 4.1682 | 41.1317 | 23.7136 | 28.901 | 3.9988 | 0.038875 | 1.7651 | 2.2337 | 0.024345 | 27.8308 | 0.6927 | 41.4213 | 395.2132 | 0.0027746
17 | 08:15:25 | 2267.5 | 0 | 1.6613 | 0.031053 | 297.2004 | 0.76041 | 2.4353 | 29.661 | 6 | 1.42 | 1 | 2.84 | 28.2032 | 29.661 | 28.1654 | 399.6901 | 397.332 | 16.3011 | 17.1987 | 43.0186 | 45.3872 | 499.5938 | 1501.0804 | 0.20667 | 101.338 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83266 | 0.00076041 | 302.811 | 301.3532 | 240.1729 | 2.1387 | 4.1782 | 41.2303 | 24.0317 | 28.9321 | 4.006 | 0.030717 | 1.7429 | 2.2631 | 0.019228 | 30.1177 | 0.74799 | 40.609 | 396.5423 | 0.0017013
18 | 08:15:32 | 2274.5 | 0 | 1.6553 | 0.027423 | 286.3507 | 0.67523 | 2.4458 | 29.6642 | 6 | 1.42 | 1 | 2.84 | 28.2172 | 29.6642 | 28.1736 | 399.6173 | 397.3072 | 16.3057 | 17.1027 | 42.9951 | 45.0968 | 499.6038 | 1501.0302 | 0.34839 | 101.337 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83267 | 0.00067523 | 302.8142 | 301.3672 | 240.1648 | 2.1825 | 4.179 | 41.2382 | 24.1354 | 28.9407 | 4.008 | 0.027161 | 1.7331 | 2.2748 | 0.016999 | 29.0179 | 0.72073 | 40.291 | 396.5203 | 0.001682
19 | 08:15:38 | 2280.5 | 0 | 1.9636 | 0.025841 | 261.9537 | 0.63732 | 2.4485 | 29.6573 | 6 | 1.42 | 1 | 2.84 | 28.2273 | 29.6573 | 28.1815 | 400.2584 | 397.5958 | 16.3079 | 17.0602 | 42.9754 | 44.958 | 499.6029 | 1500.7208 | 0.082664 | 101.3368 | 2.6109 | 0.08413 | 0.057601 | 0.035464 | 0.029175 | 0.035893 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83267 | 0.00063732 | 302.8073 | 301.3773 | 240.1153 | 2.2031 | 4.1773 | 41.222 | 24.1618 | 28.9423 | 4.0084 | 0.025608 | 1.7288 | 2.2795 | 0.016026 | 26.5456 | 0.65884 | 40.1711 | 396.6624 | 0.0019886
Remark= | "08:19:33 Flow: Fixed -> 500 umol/s"
Remark= | "08:19:41 e1 a"
20 | 08:21:00 | 2601.5 | 0 | 5.3454 | 0.039749 | 163.7011 | 0.98895 | 2.48 | 30.0582 | 6 | 1.42 | 1 | 2.84 | 28.7066 | 30.0582 | 28.6593 | 399.5384 | 392.6525 | 16.5436 | 17.7102 | 42.3998 | 45.3898 | 499.5988 | 1500.0936 | 0.13108 | 101.3376 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83266 | 0.00098895 | 303.2082 | 301.8566 | 240.015 | 2.0355 | 4.2747 | 42.183 | 24.4727 | 29.3824 | 4.1116 | 0.0392 | 1.7947 | 2.3169 | 0.024549 | 16.5891 | 0.41691 | 41.0189 | 390.1115 | 0.0056205
21 | 08:21:12 | 2613.5 | 0 | 5.0926 | 0.037972 | 165.715 | 0.94712 | 2.4847 | 30.0628 | 6 | 1.42 | 1 | 2.84 | 28.722 | 30.0628 | 28.6729 | 400.6188 | 394.0552 | 16.5578 | 17.6751 | 42.398 | 45.2588 | 499.6522 | 1499.9417 | 0.085028 | 101.3366 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83275 | 0.00094712 | 303.2128 | 301.872 | 239.9907 | 2.0574 | 4.2759 | 42.1945 | 24.5195 | 29.3924 | 4.114 | 0.037471 | 1.7911 | 2.3229 | 0.023464 | 16.793 | 0.42054 | 40.8866 | 391.6344 | 0.0053167
22 | 08:21:13 | 2614.5 | 0 | 5.0566 | 0.037786 | 166.2793 | 0.94318 | 2.4864 | 30.0681 | 6 | 1.42 | 1 | 2.84 | 28.7236 | 30.0681 | 28.6744 | 400.6719 | 394.153 | 16.5584 | 17.6711 | 42.3959 | 45.2447 | 499.6208 | 1499.8987 | 0.0035428 | 101.337 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8327 | 0.00094318 | 303.2181 | 301.8736 | 239.9838 | 2.0588 | 4.2771 | 42.2072 | 24.5361 | 29.3958 | 4.1148 | 0.03729 | 1.7907 | 2.3241 | 0.02335 | 16.8502 | 0.42186 | 40.8601 | 391.7493 | 0.0052741
23 | 08:21:16 | 2617.5 | 0 | 4.9182 | 0.037622 | 171.3431 | 0.93992 | 2.4885 | 30.0742 | 6 | 1.42 | 1 | 2.84 | 28.727 | 30.0742 | 28.6776 | 400.6668 | 394.3146 | 16.5566 | 17.6656 | 42.3828 | 45.2216 | 499.5644 | 1499.8901 | 0.25862 | 101.337 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83261 | 0.00093992 | 303.2242 | 301.877 | 239.9824 | 2.06 | 4.2786 | 42.2218 | 24.5562 | 29.4006 | 4.1159 | 0.03713 | 1.7902 | 2.3258 | 0.02325 | 17.3634 | 0.43453 | 40.8285 | 391.9767 | 0.0051229
24 | 08:21:21 | 2622.5 | 0 | 4.3911 | 0.037104 | 191.066 | 0.92624 | 2.4861 | 30.0596 | 6 | 1.42 | 1 | 2.84 | 28.7358 | 30.0596 | 28.6846 | 400.075 | 394.3623 | 16.5603 | 17.6532 | 42.371 | 45.1671 | 499.564 | 1499.6772 | 0.22556 | 101.3376 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83261 | 0.00092624 | 303.2096 | 301.8858 | 239.9484 | 2.0696 | 4.2751 | 42.1864 | 24.5332 | 29.3977 | 4.1153 | 0.036625 | 1.7889 | 2.3263 | 0.022933 | 19.3622 | 0.48449 | 40.8251 | 392.275 | 0.0045699
25 | 08:21:25 | 2626.5 | 0 | 4.6496 | 0.036667 | 177.4432 | 0.91844 | 2.4941 | 30.0878 | 6 | 1.42 | 1 | 2.84 | 28.7431 | 30.0878 | 28.6922 | 400.175 | 394.1561 | 16.56 | 17.6436 | 42.3517 | 45.1229 | 499.5815 | 1499.7065 | 0.34602 | 101.3364 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83264 | 0.00091844 | 303.2378 | 301.8931 | 239.953 | 2.0707 | 4.282 | 42.2552 | 24.6116 | 29.4155 | 4.1195 | 0.0362 | 1.7879 | 2.3315 | 0.022666 | 17.9815 | 0.45019 | 40.7219 | 391.9459 | 0.0048308
Remark= | "08:21:44 e1 b"
26 | 08:22:37 | 2698.5 | 0 | 6.5123 | 0.10153 | 273.7501 | 2.2764 | 2.2812 | 29.9193 | 6 | 1.42 | 1 | 2.84 | 28.8247 | 29.9193 | 28.7692 | 400.711 | 391.8186 | 16.6555 | 19.3366 | 42.3948 | 49.2192 | 499.5887 | 1499.0844 | 0.22438 | 101.3362 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83265 | 0.0022764 | 303.0693 | 301.9747 | 239.8535 | 1.4275 | 4.2407 | 41.8483 | 22.5117 | 29.372 | 4.1092 | 0.098028 | 1.9595 | 2.1497 | 0.061573 | 27.7408 | 0.69867 | 46.4242 | 388.723 | 0.0077775
27 | 08:22:40 | 2701.5 | 0 | 5.8653 | 0.099859 | 281.8548 | 2.2519 | 2.2931 | 29.9587 | 6 | 1.42 | 1 | 2.84 | 28.8326 | 29.9587 | 28.7748 | 399.271 | 391.1691 | 16.6625 | 19.3147 | 42.3933 | 49.141 | 499.6011 | 1499.1038 | 0.24446 | 101.3365 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83267 | 0.0022519 | 303.1087 | 301.9826 | 239.8566 | 1.4354 | 4.2504 | 41.9431 | 22.6284 | 29.3957 | 4.1148 | 0.096467 | 1.9573 | 2.1575 | 0.060588 | 28.5622 | 0.72054 | 46.2355 | 388.381 | 0.0069825
28 | 08:22:43 | 2704.5 | 0 | 5.4978 | 0.098734 | 285.7636 | 2.2339 | 2.2998 | 29.9796 | 6 | 1.42 | 1 | 2.84 | 28.8402 | 29.9796 | 28.781 | 397.7561 | 390.1067 | 16.6678 | 19.299 | 42.388 | 49.0792 | 499.5894 | 1498.8817 | 0.1299 | 101.3359 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83265 | 0.0022339 | 303.1296 | 301.9902 | 239.8211 | 1.4421 | 4.2555 | 41.9936 | 22.6946 | 29.4099 | 4.1182 | 0.095416 | 1.9557 | 2.1625 | 0.059925 | 28.9581 | 0.73253 | 46.1214 | 387.4933 | 0.0065438
Remark= | "08:22:57 e1 c"
29 | 08:24:09 | 2790.5 | 0 | 5.2068 | 0.045713 | 197.3657 | 1.1195 | 2.4457 | 30.0512 | 6 | 1.42 | 1 | 2.84 | 28.9843 | 30.0512 | 28.9158 | 400.6483 | 393.8651 | 16.7115 | 18.0318 | 42.146 | 45.4757 | 499.5706 | 1499.8541 | 0.25626 | 101.3361 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83262 | 0.0011195 | 303.2012 | 302.1343 | 239.9767 | 2.0082 | 4.273 | 42.1666 | 24.1348 | 29.5177 | 4.1438 | 0.044989 | 1.8273 | 2.3166 | 0.028182 | 20.0003 | 0.5011 | 41.9218 | 391.39 | 0.005577
30 | 08:24:16 | 2797.5 | 0 | 4.6467 | 0.042001 | 203.4182 | 1.0376 | 2.4639 | 30.0944 | 6 | 1.42 | 1 | 2.84 | 29.0083 | 30.0944 | 28.9352 | 400.7162 | 394.6445 | 16.7339 | 17.9575 | 42.144 | 45.2255 | 499.6518 | 1499.7028 | 0.12164 | 101.3361 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83275 | 0.0010376 | 303.2444 | 302.1583 | 239.9524 | 2.046 | 4.2836 | 42.2713 | 24.3138 | 29.5513 | 4.1519 | 0.041388 | 1.8197 | 2.3321 | 0.025922 | 20.6136 | 0.51545 | 41.5599 | 392.4357 | 0.004921
31 | 08:24:22 | 2803.5 | 0 | 4.8886 | 0.039698 | 184.3444 | 0.98525 | 2.4734 | 30.1183 | 6 | 1.42 | 1 | 2.84 | 29.0253 | 30.1183 | 28.9497 | 401.7221 | 395.3831 | 16.7599 | 17.922 | 42.1676 | 45.0914 | 499.5888 | 1499.6543 | 0.20785 | 101.3354 | 2.3758 | 0.069624 | 2.7845 | 0.0012148 | 2.8583 | 0.0018153 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83265 | 0.00098525 | 303.2683 | 302.1753 | 239.9447 | 2.0709 | 4.2895 | 42.3296 | 24.4076 | 29.5718 | 4.1568 | 0.039151 | 1.8161 | 2.3406 | 0.024518 | 18.6806 | 0.46624 | 41.3676 | 393.0593 | 0.005145
Remark= | "08:25:50 Flow: Fixed -> 500 umol/s"
Remark= | "08:26:01 e7 a"
32 | 08:26:54 | 2956 | 0 | 1.0936 | 0.0095021 | 199.7447 | 0.27581 | 2.8589 | 31.3424 | 6 | 1.42 | 1 | 2.84 | 29.2784 | 31.3424 | 29.2055 | 399.7885 | 398.3432 | 16.858 | 17.1836 | 41.7981 | 42.6053 | 499.6187 | 1499.8215 | 0.21375 | 101.3344 | 2.6315 | 0.059692 | 0.18673 | 0.013299 | 0.17863 | 0.0091176 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8327 | 0.00027581 | 304.4924 | 302.4284 | 239.9714 | 2.2876 | 4.6002 | 45.3961 | 28.2126 | 30.3104 | 4.337 | 0.0094704 | 1.7413 | 2.5957 | 0.0059218 | 20.241 | 0.50144 | 36.059 | 397.8234 | 0.00099124
33 | 08:27:00 | 2962 | 0 | 1.2359 | 0.0086147 | 155.3679 | 0.25092 | 2.8677 | 31.3738 | 6 | 1.42 | 1 | 2.84 | 29.2939 | 31.3738 | 29.2185 | 400.0411 | 398.4367 | 16.8816 | 17.1778 | 41.8191 | 42.5528 | 499.573 | 1499.8656 | 0.14289 | 101.334 | 2.6315 | 0.059692 | 0.18673 | 0.013299 | 0.17863 | 0.0091176 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83262 | 0.00025092 | 304.5238 | 302.4439 | 239.9785 | 2.2977 | 4.6084 | 45.4777 | 28.2999 | 30.3338 | 4.3428 | 0.0085886 | 1.7407 | 2.6021 | 0.0053702 | 15.744 | 0.38994 | 35.9537 | 397.8493 | 0.0011168
34 | 08:27:05 | 2967 | 0 | 1.2477 | 0.0084048 | 147.9484 | 0.24517 | 2.8718 | 31.3906 | 6 | 1.42 | 1 | 2.84 | 29.3075 | 31.3906 | 29.2305 | 400.4809 | 398.8653 | 16.8916 | 17.1809 | 41.8115 | 42.5277 | 499.6698 | 1499.7195 | 0.077943 | 101.3356 | 2.6315 | 0.059692 | 0.18673 | 0.013299 | 0.17863 | 0.0091176 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83278 | 0.00024517 | 304.5406 | 302.4575 | 239.9551 | 2.2998 | 4.6128 | 45.5203 | 28.3394 | 30.3491 | 4.3466 | 0.00838 | 1.741 | 2.6056 | 0.0052397 | 14.9925 | 0.37092 | 35.9182 | 398.2722 | 0.0011252
Remark= | "08:27:21 e7 b"
35 | 08:27:54 | 3016.5 | 0 | 2.8603 | 0.048005 | 284.5044 | 1.2587 | 2.6173 | 30.8946 | 6 | 1.42 | 1 | 2.84 | 29.3604 | 30.8946 | 29.3043 | 399.7236 | 395.6906 | 16.9398 | 18.4235 | 41.8044 | 45.466 | 499.6273 | 1499.7927 | 0.062591 | 101.3387 | 2.6315 | 0.059692 | 0.18673 | 0.013299 | 0.17863 | 0.0091176 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83271 | 0.0012587 | 304.0446 | 302.5104 | 239.9668 | 1.8724 | 4.4843 | 44.251 | 25.8275 | 30.1275 | 4.2917 | 0.047208 | 1.867 | 2.4247 | 0.029575 | 28.8313 | 0.71901 | 40.7475 | 394.3309 | 0.0029556
36 | 08:27:59 | 3021.5 | 0 | 2.8854 | 0.038372 | 259.4709 | 1.0301 | 2.6708 | 30.9918 | 6 | 1.42 | 1 | 2.84 | 29.3705 | 30.9918 | 29.3041 | 399.3536 | 395.3995 | 16.9272 | 18.1418 | 41.7482 | 44.7439 | 499.6359 | 1499.3341 | 0.13581 | 101.3371 | 2.6315 | 0.059692 | 0.18673 | 0.013299 | 0.17863 | 0.0091176 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 0.0010301 | 304.1418 | 302.5205 | 239.8935 | 1.973 | 4.5093 | 44.4978 | 26.356 | 30.1812 | 4.305 | 0.037861 | 1.8384 | 2.4665 | 0.023708 | 26.294 | 0.65622 | 39.6702 | 394.0279 | 0.0029049
37 | 08:28:03 | 3025.5 | 0 | 3.2669 | 0.034306 | 227.6783 | 0.9309 | 2.6958 | 31.0355 | 6 | 1.42 | 1 | 2.84 | 29.3742 | 31.0355 | 29.3045 | 399.6491 | 395.2838 | 16.9085 | 18.0064 | 41.6928 | 44.3998 | 499.6056 | 1499.4795 | 0.10392 | 101.3356 | 2.6315 | 0.059692 | 0.18673 | 0.013299 | 0.17863 | 0.0091176 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83268 | 0.0009309 | 304.1855 | 302.5242 | 239.9167 | 2.017 | 4.5205 | 44.6094 | 26.603 | 30.2048 | 4.3108 | 0.033897 | 1.8247 | 2.4861 | 0.021222 | 23.0719 | 0.57599 | 39.1719 | 393.7308 | 0.0032502
Remark= | "08:28:17 e7 c"
38 | 08:29:46 | 3128.5 | 0 | 0.78492 | 0.014622 | 296.6308 | 0.40626 | 2.7422 | 31.005 | 6 | 1.42 | 1 | 2.84 | 29.3789 | 31.005 | 29.3394 | 399.5528 | 398.4158 | 16.9925 | 17.4719 | 41.8873 | 43.0689 | 499.6376 | 1498.9868 | 0.0023619 | 101.3329 | 2.6315 | 0.059692 | 0.18673 | 0.013299 | 0.17863 | 0.0091176 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 0.00040626 | 304.155 | 302.5289 | 239.8379 | 2.2819 | 4.5127 | 44.5331 | 27.0612 | 30.1919 | 4.3076 | 0.014547 | 1.7705 | 2.5372 | 0.0090987 | 30.0585 | 0.74453 | 37.6105 | 398.0427 | 0.00074166
39 | 08:29:52 | 3134.5 | 0 | 0.96578 | 0.012931 | 263.7835 | 0.3602 | 2.7476 | 31.0066 | 6 | 1.42 | 1 | 2.84 | 29.3875 | 31.0066 | 29.3461 | 399.8969 | 398.5647 | 16.997 | 17.422 | 41.8778 | 42.925 | 499.6365 | 1498.7944 | 0.124 | 101.3333 | 2.6315 | 0.059692 | 0.18673 | 0.013299 | 0.17863 | 0.0091176 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 0.0003602 | 304.1566 | 302.5375 | 239.8071 | 2.3054 | 4.5131 | 44.5369 | 27.1149 | 30.197 | 4.3089 | 0.012873 | 1.7654 | 2.5435 | 0.0080506 | 26.7301 | 0.66183 | 37.4565 | 398.1056 | 0.00090868
40 | 08:29:57 | 3139.5 | 0 | 0.72726 | 0.012224 | 287.6629 | 0.34109 | 2.7517 | 31.0129 | 6 | 1.42 | 1 | 2.84 | 29.393 | 31.0129 | 29.3496 | 399.6145 | 398.5778 | 16.9953 | 17.3978 | 41.8604 | 42.8519 | 499.5847 | 1498.7234 | 0.12518 | 101.3339 | 2.6315 | 0.059692 | 0.18673 | 0.013299 | 0.17863 | 0.0091176 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83264 | 0.00034109 | 304.1629 | 302.543 | 239.7957 | 2.3147 | 4.5147 | 44.5527 | 27.1549 | 30.203 | 4.3104 | 0.012172 | 1.763 | 2.5474 | 0.0076121 | 29.15 | 0.72172 | 37.3712 | 398.2321 | 0.00068248
Remark= | "08:33:54 Flow: Fixed -> 500 umol/s"
Remark= | "08:34:09 f10 a"
41 | 08:35:06 | 3447.5 | 0 | 0.41897 | 0.0069362 | 287.2573 | 0.19374 | 2.7479 | 31.174 | 6 | 1.42 | 1 | 2.84 | 29.7996 | 31.174 | 29.7464 | 400.078 | 399.4818 | 17.62 | 17.8486 | 42.3899 | 42.9397 | 499.5619 | 1499.5889 | 0.28107 | 101.3228 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8326 | 0.00019374 | 304.324 | 302.9496 | 239.9342 | 2.4218 | 4.5563 | 44.9685 | 27.1199 | 30.4868 | 4.381 | 0.0069193 | 1.8085 | 2.5726 | 0.0043261 | 29.1057 | 0.71907 | 37.8874 | 399.2827 | 0.00039756
42 | 08:35:12 | 3453.5 | 0 | 0.14292 | 0.0064199 | 347.2847 | 0.1796 | 2.7518 | 31.1835 | 6 | 1.42 | 1 | 2.84 | 29.8121 | 31.1835 | 29.7563 | 399.9804 | 399.7226 | 17.622 | 17.8339 | 42.3651 | 42.8744 | 499.6171 | 1499.4385 | 0.066134 | 101.3252 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8327 | 0.0001796 | 304.3335 | 302.9621 | 239.9102 | 2.4289 | 4.5588 | 44.9917 | 27.1578 | 30.4978 | 4.3838 | 0.0064054 | 1.807 | 2.5768 | 0.0040047 | 35.1887 | 0.86881 | 37.8211 | 399.6546 | 0.00013525
43 | 08:35:17 | 3458.5 | 0 | 0.39165 | 0.0056498 | 273.5569 | 0.1582 | 2.7535 | 31.1856 | 6 | 1.42 | 1 | 2.84 | 29.8216 | 31.1856 | 29.7652 | 400.3132 | 399.7669 | 17.6357 | 17.8223 | 42.3741 | 42.8224 | 499.6074 | 1499.3618 | 0.07322 | 101.3234 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83268 | 0.0001582 | 304.3356 | 302.9716 | 239.8979 | 2.4404 | 4.5593 | 44.9978 | 27.1755 | 30.5036 | 4.3853 | 0.0056386 | 1.8058 | 2.5794 | 0.0035251 | 27.7177 | 0.68429 | 37.7724 | 399.5807 | 0.00037022
Remark= | "08:35:32 f10 b"
44 | 08:36:29 | 3530.5 | 0 | -0.0088804 | 0.0062696 | 383.1713 | 0.18237 | 2.8594 | 31.572 | 6 | 1.42 | 1 | 2.84 | 29.9065 | 31.572 | 29.8578 | 399.2165 | 399.1398 | 17.5624 | 17.7775 | 41.9903 | 42.5046 | 499.6163 | 1499.1884 | 0.066133 | 101.3178 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83269 | 0.00018237 | 304.722 | 303.0565 | 239.8701 | 2.3852 | 4.6606 | 45.9999 | 28.2224 | 30.7392 | 4.4447 | 0.0062558 | 1.8012 | 2.6435 | 0.0039111 | 38.8221 | 0.95999 | 36.7656 | 399.144 | -8.1798e-06
45 | 08:36:37 | 3538.5 | 0 | 0.45314 | 0.0059013 | 261.2859 | 0.1719 | 2.8632 | 31.5786 | 6 | 1.42 | 1 | 2.84 | 29.9136 | 31.5786 | 29.8655 | 400.4221 | 399.7953 | 17.5551 | 17.7579 | 41.9559 | 42.4406 | 499.5979 | 1499.3728 | 0.14762 | 101.3186 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83266 | 0.0001719 | 304.7286 | 303.0636 | 239.8996 | 2.3908 | 4.6624 | 46.0168 | 28.2589 | 30.7461 | 4.4465 | 0.0058891 | 1.7992 | 2.6473 | 0.0036818 | 26.4731 | 0.65355 | 36.6989 | 399.5799 | 0.00041618
46 | 08:36:40 | 3541.5 | 0 | 0.48276 | 0.005774 | 250.8119 | 0.16851 | 2.8684 | 31.5956 | 6 | 1.42 | 1 | 2.84 | 29.9167 | 31.5956 | 29.8664 | 400.7025 | 400.0417 | 17.5514 | 17.7502 | 41.9394 | 42.4145 | 499.5261 | 1499.3809 | 0.17006 | 101.3185 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83254 | 0.00016851 | 304.7456 | 303.0667 | 239.9009 | 2.3905 | 4.6669 | 46.0614 | 28.3112 | 30.7562 | 4.449 | 0.0057623 | 1.7984 | 2.6506 | 0.0036025 | 25.4119 | 0.62696 | 36.6391 | 399.8122 | 0.0004424
47 | 08:36:47 | 3548.5 | 0 | 0.0076726 | 0.0055035 | 379.8122 | 0.16059 | 2.8678 | 31.5867 | 6 | 1.42 | 1 | 2.84 | 29.9207 | 31.5867 | 29.8721 | 400.3739 | 400.2875 | 17.5444 | 17.7339 | 41.9132 | 42.3658 | 499.546 | 1499.3795 | 0.0059046 | 101.318 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83258 | 0.00016059 | 304.7367 | 303.0707 | 239.9007 | 2.3963 | 4.6645 | 46.0384 | 28.3045 | 30.7537 | 4.4484 | 0.0054929 | 1.7968 | 2.6516 | 0.003434 | 38.4818 | 0.94885 | 36.6177 | 400.2838 | 7.0188e-06
Remark= | "08:37:01 f10 c"
48 | 08:37:43 | 3604.5 | 0 | 0.59017 | 0.014163 | 316.8901 | 0.40495 | 2.8184 | 31.5167 | 6 | 1.42 | 1 | 2.84 | 29.9353 | 31.5167 | 29.8956 | 401.2267 | 400.3233 | 17.5612 | 18.0387 | 41.9177 | 43.0576 | 499.627 | 1499.8401 | 0.069676 | 101.3178 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83271 | 0.00040495 | 304.6667 | 303.0853 | 239.9744 | 2.2875 | 4.646 | 45.8557 | 27.817 | 30.726 | 4.4414 | 0.014092 | 1.8276 | 2.6137 | 0.0088141 | 32.1066 | 0.79159 | 37.647 | 400.0428 | 0.0005554
49 | 08:37:47 | 3608.5 | 0 | 0.66873 | 0.010428 | 282.1264 | 0.3006 | 2.8376 | 31.5489 | 6 | 1.42 | 1 | 2.84 | 29.9413 | 31.5489 | 29.8979 | 401.7979 | 400.8501 | 17.5781 | 17.9326 | 41.9438 | 42.7899 | 499.5748 | 1499.7458 | 0.28107 | 101.318 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83262 | 0.0003006 | 304.6989 | 303.0913 | 239.9593 | 2.3355 | 4.6545 | 45.9396 | 28.0069 | 30.7451 | 4.4462 | 0.01039 | 1.8169 | 2.6293 | 0.0064973 | 28.5845 | 0.70382 | 37.2545 | 400.5322 | 0.000622
50 | 08:37:52 | 3613.5 | 0 | -0.72533 | 0.007568 | 533.0309 | 0.21959 | 2.8535 | 31.5813 | 6 | 1.42 | 1 | 2.84 | 29.9508 | 31.5813 | 29.9018 | 400.3017 | 401.067 | 17.6012 | 17.8602 | 41.9758 | 42.5935 | 499.5995 | 1499.5641 | 0.17951 | 101.3179 | 2.4392 | 0.045236 | 0.17029 | 0.013126 | 0.18121 | 0.011226 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83267 | 0.00021959 | 304.7313 | 303.1008 | 239.9302 | 2.3721 | 4.6631 | 46.0242 | 28.164 | 30.766 | 4.4515 | 0.0075479 | 1.8096 | 2.642 | 0.0047192 | 54.0056 | 1.329 | 36.9549 | 401.4118 | -0.00066775
Remark= | "08:38:59 Flow: Fixed -> 500 umol/s"
51 | 08:38:59 | 3680.5 | 0 | 0.015152 | -3.6735e-05 | 1033.6801 | -0.00090225 | 2.4145 | 29.8132 | 6 | 1.42 | 1 | 2.84 | 29.9941 | 29.8132 | 29.9534 | 401.9619 | 401.9441 | 17.772 | 17.7709 | 42.2765 | 42.274 | 499.6026 | 1500.6061 | 0.28343 | 101.3146 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83267 | -9.0225e-07 | 302.9632 | 303.1441 | 240.097 | 2.7367 | 4.215 | 41.6027 | 23.8317 | 29.9037 | 4.2369 | -3.6735e-05 | 1.8005 | 2.4365 | -2.2959e-05 | 104.7269 | 2.5717 | 40.9624 | 401.9369 | 1.5442e-05
Remark= | "08:39:05 f7 a"
52 | 08:39:38 | 3719.5 | 0 | 0.26858 | 0.0096076 | 337.2181 | 0.28226 | 2.8899 | 31.8109 | 6 | 1.42 | 1 | 2.84 | 30.0386 | 31.8109 | 29.985 | 399.8977 | 399.4397 | 17.7725 | 18.1054 | 42.1694 | 42.9591 | 499.6151 | 1499.928 | 0.098019 | 101.3135 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83269 | 0.00028226 | 304.9609 | 303.1886 | 239.9885 | 2.3212 | 4.7242 | 46.6296 | 28.5242 | 30.9248 | 4.4921 | 0.0095752 | 1.8343 | 2.6577 | 0.0059874 | 34.1648 | 0.84423 | 36.995 | 399.3121 | 0.00024883
53 | 08:39:44 | 3725.5 | 0 | 0.25071 | 0.0066456 | 321.9657 | 0.19793 | 2.9264 | 31.913 | 6 | 1.42 | 1 | 2.84 | 30.0518 | 31.913 | 29.9915 | 400.0723 | 399.6762 | 17.7817 | 18.0152 | 42.1597 | 42.7131 | 499.5748 | 1499.3881 | 0.31295 | 101.3144 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83262 | 0.00019793 | 305.063 | 303.2018 | 239.9021 | 2.3495 | 4.7516 | 46.8997 | 28.8846 | 30.9824 | 4.5069 | 0.0066301 | 1.8252 | 2.6817 | 0.0041452 | 32.6197 | 0.80557 | 36.4946 | 399.557 | 0.00022899
54 | 08:39:49 | 3730.5 | 0 | -0.38516 | 0.0056884 | 486.9503 | 0.17048 | 2.9436 | 31.9604 | 6 | 1.42 | 1 | 2.84 | 30.0618 | 31.9604 | 29.9993 | 399.3422 | 399.7229 | 17.7705 | 17.9715 | 42.109 | 42.5854 | 499.6252 | 1499.5693 | 0.12046 | 101.3145 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83271 | 0.00017048 | 305.1104 | 303.2118 | 239.9311 | 2.3581 | 4.7644 | 47.0258 | 29.0543 | 31.0111 | 4.5142 | 0.005677 | 1.8208 | 2.6935 | 0.0035491 | 49.3351 | 1.2182 | 36.2687 | 399.906 | -0.00034932
Remark= | "08:40:05 f7 b"
55 | 08:40:52 | 3793.5 | 0 | 0.55079 | 0.0093098 | 287.8449 | 0.26797 | 2.8318 | 31.6005 | 6 | 1.42 | 1 | 2.84 | 30.1355 | 31.6005 | 30.0779 | 399.4118 | 398.6221 | 17.8094 | 18.1253 | 42.0232 | 42.7687 | 499.6592 | 1500.4498 | 0.094477 | 101.3149 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83277 | 0.00026797 | 304.7505 | 303.2855 | 240.072 | 2.372 | 4.6682 | 46.0758 | 27.9505 | 30.868 | 4.4775 | 0.0092794 | 1.8364 | 2.6412 | 0.0058024 | 29.163 | 0.7221 | 37.531 | 398.3603 | 0.00051892
56 | 08:40:56 | 3797.5 | 0 | 0.41494 | 0.0086368 | 305.4424 | 0.24971 | 2.8438 | 31.6309 | 6 | 1.42 | 1 | 2.84 | 30.1428 | 31.6309 | 30.0827 | 399.4615 | 398.8436 | 17.7921 | 18.0865 | 41.9643 | 42.6588 | 499.6375 | 1500.7383 | 0.098021 | 101.3142 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 0.00024971 | 304.7809 | 303.2928 | 240.1181 | 2.3783 | 4.6762 | 46.1556 | 28.0691 | 30.8868 | 4.4823 | 0.0086107 | 1.8324 | 2.6499 | 0.005384 | 30.9457 | 0.76582 | 37.3582 | 398.6464 | 0.00038885
57 | 08:41:00 | 3801.5 | 0 | 0.070085 | 0.0076888 | 366.5968 | 0.22212 | 2.8406 | 31.607 | 6 | 1.42 | 1 | 2.84 | 30.1471 | 31.607 | 30.0877 | 399.139 | 398.9484 | 17.7936 | 18.0555 | 41.9573 | 42.575 | 499.6257 | 1500.5665 | 0.13463 | 101.3134 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83271 | 0.00022212 | 304.757 | 303.2971 | 240.0906 | 2.3956 | 4.6699 | 46.0935 | 28.0379 | 30.877 | 4.4798 | 0.0076681 | 1.8293 | 2.6506 | 0.0047944 | 37.1412 | 0.91891 | 37.3255 | 398.9151 | 6.5577e-05
Remark= | "08:41:10 f7 c"
58 | 08:41:40 | 3841.5 | 0 | 0.15092 | 0.020195 | 368.422 | 0.56856 | 2.7801 | 31.5365 | 6 | 1.42 | 1 | 2.84 | 30.1531 | 31.5365 | 30.1207 | 398.2673 | 397.8144 | 17.7987 | 18.469 | 41.9545 | 43.5343 | 499.5992 | 1499.4026 | 0.19486 | 101.3123 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83267 | 0.00056856 | 304.6865 | 303.3031 | 239.9044 | 2.2321 | 4.6512 | 45.9099 | 27.441 | 30.8448 | 4.4716 | 0.020052 | 1.8711 | 2.6005 | 0.012546 | 37.3257 | 0.92612 | 38.6767 | 397.7427 | 0.00014675
59 | 08:41:44 | 3845.5 | 0 | 0.12467 | 0.015735 | 367.5319 | 0.44799 | 2.807 | 31.5839 | 6 | 1.42 | 1 | 2.84 | 30.1641 | 31.5839 | 30.1262 | 398.1454 | 397.7816 | 17.7994 | 18.3276 | 41.9293 | 43.1735 | 499.5891 | 1499.1464 | 0.33657 | 101.3114 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83265 | 0.00044799 | 304.7339 | 303.3141 | 239.8634 | 2.2864 | 4.6638 | 46.0341 | 27.7065 | 30.874 | 4.4791 | 0.015649 | 1.8568 | 2.6223 | 0.0097882 | 37.2352 | 0.92395 | 38.1545 | 397.7224 | 0.00011959
60 | 08:41:52 | 3853.5 | 0 | 0.92354 | 0.010701 | 245.2576 | 0.30742 | 2.8276 | 31.609 | 6 | 1.42 | 1 | 2.84 | 30.1832 | 31.609 | 30.1417 | 399.8906 | 398.6342 | 17.8269 | 18.1894 | 41.949 | 42.802 | 499.5875 | 1499.1709 | 0.20666 | 101.3136 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83265 | 0.00030742 | 304.759 | 303.3332 | 239.8673 | 2.3553 | 4.6704 | 46.0987 | 27.9093 | 30.8961 | 4.4847 | 0.010661 | 1.8428 | 2.6419 | 0.0066667 | 24.8479 | 0.61524 | 37.6817 | 398.1952 | 0.00087396
61 | 08:41:55 | 3856.5 | 0 | 0.23769 | 0.0094947 | 341.6085 | 0.27339 | 2.8329 | 31.6208 | 6 | 1.42 | 1 | 2.84 | 30.1905 | 31.6208 | 30.1486 | 399.3007 | 398.8843 | 17.8451 | 18.1674 | 41.9745 | 42.7327 | 499.6186 | 1499.0146 | 0.24918 | 101.3142 | 2.4087 | 0.042549 | 0.11472 | 0.0060322 | 0.097737 | 0.0083225 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.8327 | 0.00027339 | 304.7708 | 303.3405 | 239.8423 | 2.3713 | 4.6736 | 46.1293 | 27.9618 | 30.9056 | 4.4872 | 0.0094631 | 1.8406 | 2.6465 | 0.0059173 | 34.6098 | 0.85641 | 37.579 | 398.7713 | 0.00022399