## tea 8-22-17 eric_1
OPEN 6.3.4
Tue Aug 22 2017 08:44:52
Unit= | PSC-4474
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | CsMchSD | HsMchSD | CrMchSD | HrMchSD | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "08:49:35 Lamp: Off"
Remark= | "08:49:36 CO2 Mixer -> OFF"
Remark= | "08:49:36 Coolers: Off"
Remark= | "08:49:36 Flow: Fixed -> 500 umol/s"
Remark= | "08:50:30 Lamp: ParIn -> 1500 uml"
Remark= | "08:51:36 Lamp: ParIn -> 1500 uml"
Remark= | "08:51:36 CO2 Mixer -> OFF"
Remark= | "08:51:36 Coolers: Off"
Remark= | "08:51:36 Flow: Fixed -> 500 umol/s"
Remark= | "08:52:06 Lamp: ParIn -> 1500 uml"
Remark= | "08:52:06 CO2 Mixer -> OFF"
Remark= | "08:52:06 Coolers: Off"
Remark= | "08:52:06 Flow: Fixed -> 500 umol/s"
Remark= | "08:52:58 CO2 Mixer: CO2R -> 400 uml"
Remark= | "08:55:34 Flow: Fixed -> 500 umol/s"
Remark= | "08:55:41 c7 a"
1 | 08:56:35 | 725.5 | 0 | 5.3515 | 0.044663 | 185.6975 | 1.2307 | 2.7404 | 31.9357 | 6 | 1.42 | 1 | 2.84 | 30.6164 | 31.9357 | 30.5833 | 399.9273 | 392.9195 | 18.4656 | 19.9142 | 42.3813 | 45.7061 | 499.591 | 1498.4545 | 0.20076 | 101.2997 | 2.2476 | 0.027023 | 0.69578 | 0.0079315 | 0.66789 | 0.0062735 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83265 | 0.0012307 | 305.0857 | 303.7664 | 239.7527 | 1.9083 | 4.7577 | 46.9669 | 27.0528 | 31.2761 | 4.5829 | 0.043971 | 2.0173 | 2.5656 | 0.027543 | 18.8111 | 0.47261 | 41.3303 | 390.3756 | 0.0056658
2 | 08:56:39 | 729.5 | 0 | 5.3022 | 0.043375 | 181.8347 | 1.1982 | 2.746 | 31.937 | 6 | 1.42 | 1 | 2.84 | 30.6207 | 31.937 | 30.587 | 399.7772 | 392.8438 | 18.4516 | 19.862 | 42.3391 | 45.5755 | 499.5699 | 1500.0956 | 0.06141 | 101.3006 | 2.2476 | 0.027023 | 0.69578 | 0.0079315 | 0.66789 | 0.0062735 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83262 | 0.0011982 | 305.087 | 303.7707 | 240.0153 | 1.9278 | 4.7581 | 46.9699 | 27.1079 | 31.2789 | 4.5836 | 0.042722 | 2.012 | 2.5716 | 0.026759 | 18.42 | 0.46287 | 41.1897 | 390.3234 | 0.0055952
3 | 08:56:42 | 732.5 | 0 | 5.3332 | 0.042453 | 176.4342 | 1.1787 | 2.7592 | 31.9732 | 6 | 1.42 | 1 | 2.84 | 30.6219 | 31.9732 | 30.5882 | 399.7741 | 392.8134 | 18.4411 | 19.8285 | 42.3123 | 45.4958 | 499.6252 | 1500.1997 | 0.092114 | 101.3012 | 2.2476 | 0.027023 | 0.69578 | 0.0079315 | 0.66789 | 0.0062735 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83271 | 0.0011787 | 305.1232 | 303.7719 | 240.0319 | 1.9327 | 4.7678 | 47.066 | 27.2375 | 31.2975 | 4.5885 | 0.041828 | 2.0087 | 2.5798 | 0.026198 | 17.873 | 0.44916 | 41.0084 | 390.2782 | 0.0056039
Remark= | "08:56:57 c7 b"
4 | 08:57:49 | 799.5 | 0 | 1.3865 | 0.021692 | 281.0784 | 0.6279 | 2.8562 | 32.1081 | 6 | 1.42 | 1 | 2.84 | 30.6471 | 32.1081 | 30.6102 | 401.8536 | 399.8871 | 18.4921 | 19.2316 | 42.3688 | 44.0631 | 499.6444 | 1498.9624 | 0.12518 | 101.3017 | 2.2476 | 0.027023 | 0.69578 | 0.0079315 | 0.66789 | 0.0062735 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83274 | 0.0006279 | 305.2581 | 303.7971 | 239.834 | 2.1885 | 4.8044 | 47.4263 | 28.1946 | 31.3776 | 4.6094 | 0.021528 | 1.9482 | 2.6612 | 0.01347 | 28.4737 | 0.70289 | 38.9671 | 399.228 | 0.0013533
5 | 08:57:57 | 807.5 | 0 | 0.50713 | 0.021009 | 343.6744 | 0.6115 | 2.8713 | 32.1561 | 6 | 1.42 | 1 | 2.84 | 30.6652 | 32.1561 | 30.6198 | 400.8689 | 399.9661 | 18.4905 | 19.2108 | 42.3224 | 43.971 | 499.5993 | 1498.7897 | 0.19013 | 101.3046 | 2.2476 | 0.027023 | 0.69578 | 0.0079315 | 0.66789 | 0.0062735 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83267 | 0.0006115 | 305.3061 | 303.8152 | 239.8063 | 2.192 | 4.8174 | 47.5539 | 28.3431 | 31.4106 | 4.6181 | 0.020855 | 1.9461 | 2.6719 | 0.013048 | 34.8158 | 0.85926 | 38.7924 | 399.725 | 0.00049215
6 | 08:58:07 | 817.5 | 0 | 0.80185 | 0.0199 | 317.8518 | 0.58231 | 2.8852 | 32.2003 | 6 | 1.42 | 1 | 2.84 | 30.6847 | 32.2003 | 30.6347 | 400.8472 | 399.6047 | 18.5073 | 19.1932 | 42.3118 | 43.8799 | 499.6052 | 1498.6917 | 0.28225 | 101.3003 | 2.2476 | 0.027023 | 0.69578 | 0.0079315 | 0.66789 | 0.0062735 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83268 | 0.00058231 | 305.3503 | 303.8347 | 239.7907 | 2.2027 | 4.8295 | 47.6749 | 28.4817 | 31.4425 | 4.6265 | 0.019762 | 1.9443 | 2.6822 | 0.012363 | 32.1985 | 0.79542 | 38.622 | 399.2236 | 0.00077573
Remark= | "08:59:06 c7 c"
7 | 08:59:10 | 880.5 | 0 | 4.8735 | 0.045021 | 204.9604 | 1.2564 | 2.7751 | 32.0719 | 6 | 1.42 | 1 | 2.84 | 30.7489 | 32.0719 | 30.6894 | 400.514 | 394.0667 | 18.4563 | 19.935 | 42.0401 | 45.4084 | 499.6167 | 1500.479 | 0.14053 | 101.299 | 2.2476 | 0.027023 | 0.69578 | 0.0079315 | 0.66789 | 0.0062735 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83269 | 0.0012564 | 305.2219 | 303.8989 | 240.0766 | 1.8981 | 4.7945 | 47.3306 | 27.3956 | 31.4104 | 4.618 | 0.044318 | 2.0194 | 2.5986 | 0.027761 | 20.7623 | 0.52012 | 41.0388 | 391.7501 | 0.0051053
8 | 08:59:15 | 885.5 | 0 | 4.9559 | 0.044061 | 198.4563 | 1.2359 | 2.7884 | 32.1095 | 6 | 1.42 | 1 | 2.84 | 30.7586 | 32.1095 | 30.6925 | 400.8287 | 394.2914 | 18.4503 | 19.905 | 42.003 | 45.3149 | 499.5876 | 1500.5524 | 0.22439 | 101.2988 | 2.2476 | 0.027023 | 0.69578 | 0.0079315 | 0.66789 | 0.0062735 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83265 | 0.0012359 | 305.2595 | 303.9086 | 240.0884 | 1.9044 | 4.8048 | 47.4315 | 27.5265 | 31.4341 | 4.6242 | 0.043388 | 2.0164 | 2.6079 | 0.027177 | 20.1034 | 0.50332 | 40.8614 | 391.9356 | 0.0051668
9 | 08:59:19 | 889.5 | 0 | 4.4699 | 0.043665 | 214.5161 | 1.2315 | 2.803 | 32.1554 | 6 | 1.42 | 1 | 2.84 | 30.7626 | 32.1554 | 30.6951 | 400.3281 | 394.3768 | 18.4342 | 19.8837 | 41.9578 | 45.2569 | 499.606 | 1500.4667 | 0.10156 | 101.3009 | 2.2476 | 0.027023 | 0.69578 | 0.0079315 | 0.66789 | 0.0062735 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83268 | 0.0012315 | 305.3054 | 303.9126 | 240.0747 | 1.9006 | 4.8172 | 47.5538 | 27.6701 | 31.459 | 4.6308 | 0.043004 | 2.0142 | 2.6166 | 0.026936 | 21.7307 | 0.54394 | 40.6945 | 392.252 | 0.0046373
Remark= | "09:01:15 Flow: Fixed -> 500 umol/s"
Remark= | "09:01:26 c4 a"
10 | 09:02:11 | 1061.5 | 0 | 1.6518 | 0.064791 | 338.1865 | 1.8055 | 2.7873 | 32.4354 | 6 | 1.42 | 1 | 2.84 | 30.9458 | 32.4354 | 30.9069 | 399.3163 | 396.4728 | 18.6752 | 20.7983 | 42.0612 | 46.8431 | 499.6069 | 1498.7523 | 0.25509 | 101.294 | 2.2794 | 0.017505 | 0.0496 | 0.013148 | 0.062597 | 0.012811 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83268 | 0.0018055 | 305.5854 | 304.0958 | 239.8004 | 1.5981 | 4.894 | 48.3152 | 27.5168 | 31.6906 | 4.6921 | 0.063345 | 2.1067 | 2.5854 | 0.039718 | 34.2563 | 0.85299 | 42.3245 | 395.6876 | 0.0017669
11 | 09:02:15 | 1065.5 | 0 | 1.4801 | 0.039196 | 319.1448 | 1.1414 | 2.888 | 32.5123 | 6 | 1.42 | 1 | 2.84 | 30.9462 | 32.5123 | 30.9116 | 399.4849 | 397.1631 | 18.6706 | 20.0138 | 42.0504 | 45.0755 | 499.6618 | 1498.7822 | 0.33067 | 101.295 | 2.2794 | 0.017505 | 0.0496 | 0.013148 | 0.062597 | 0.012811 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83277 | 0.0011414 | 305.6623 | 304.0962 | 239.8052 | 1.917 | 4.9153 | 48.5247 | 28.5108 | 31.7293 | 4.7024 | 0.038662 | 2.0273 | 2.6751 | 0.024211 | 32.3278 | 0.80356 | 39.9879 | 396.4596 | 0.0014929
12 | 09:02:20 | 1070.5 | 0 | 1.5142 | 0.024396 | 281.4742 | 0.73073 | 2.9556 | 32.5769 | 6 | 1.42 | 1 | 2.84 | 30.95 | 32.5769 | 30.9183 | 400.0786 | 397.9112 | 18.6634 | 19.5238 | 42.024 | 43.9612 | 499.6481 | 1498.8483 | 0.27752 | 101.2923 | 2.2794 | 0.017505 | 0.0496 | 0.013148 | 0.062597 | 0.012811 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83275 | 0.00073073 | 305.7269 | 304.1 | 239.8157 | 2.1123 | 4.9332 | 48.7031 | 29.1793 | 31.7634 | 4.7115 | 0.024188 | 1.9776 | 2.7339 | 0.015136 | 28.5112 | 0.70738 | 38.4996 | 397.1914 | 0.0014677
Remark= | "09:02:29 c4 b"
13 | 09:03:23 | 1133.5 | 0 | 2.8637 | 0.020803 | 161.3593 | 0.60702 | 2.8772 | 32.2407 | 6 | 1.42 | 1 | 2.84 | 30.9472 | 32.2407 | 30.9356 | 399.8076 | 396.0797 | 18.6686 | 19.3835 | 42.0414 | 43.6513 | 499.5934 | 1498.979 | 0.096838 | 101.2896 | 2.2794 | 0.017505 | 0.0496 | 0.013148 | 0.062597 | 0.012811 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83266 | 0.00060702 | 305.3907 | 304.0972 | 239.8366 | 2.221 | 4.8405 | 47.7888 | 28.4053 | 31.5939 | 4.6664 | 0.020652 | 1.9634 | 2.7031 | 0.012921 | 16.344 | 0.40739 | 38.9423 | 394.7184 | 0.0028252
14 | 09:03:28 | 1138.5 | 0 | 3.3757 | 0.020081 | 113.8737 | 0.58681 | 2.8807 | 32.247 | 6 | 1.42 | 1 | 2.84 | 30.9502 | 32.247 | 30.9382 | 400.799 | 396.4657 | 18.6747 | 19.3658 | 42.0476 | 43.6036 | 499.6169 | 1498.7914 | 0.11337 | 101.2892 | 2.2794 | 0.017505 | 0.0496 | 0.013148 | 0.062597 | 0.012811 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83269 | 0.00058681 | 305.397 | 304.1002 | 239.8066 | 2.2303 | 4.8422 | 47.8061 | 28.4403 | 31.5986 | 4.6677 | 0.01994 | 1.9615 | 2.7061 | 0.012475 | 11.5342 | 0.28722 | 38.8737 | 394.8611 | 0.0033233
15 | 09:03:33 | 1143.5 | 0 | 2.9613 | 0.019505 | 139.849 | 0.57013 | 2.8809 | 32.2417 | 6 | 1.42 | 1 | 2.84 | 30.9542 | 32.2417 | 30.9396 | 400.6472 | 396.8195 | 18.6785 | 19.3499 | 42.0463 | 43.5576 | 499.6591 | 1498.8969 | 0.08503 | 101.2884 | 2.2794 | 0.017505 | 0.0496 | 0.013148 | 0.062597 | 0.012811 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83277 | 0.00057013 | 305.3917 | 304.1042 | 239.8235 | 2.24 | 4.8408 | 47.7923 | 28.4424 | 31.5979 | 4.6675 | 0.019372 | 1.9599 | 2.7076 | 0.012119 | 14.1651 | 0.35242 | 38.8402 | 395.4118 | 0.0029088
Remark= | "09:03:42 c4 c"
16 | 09:04:58 | 1228.5 | 0 | 0.35055 | 0.0058055 | 286.2804 | 0.18068 | 3.0513 | 32.7111 | 6 | 1.42 | 1 | 2.84 | 30.9565 | 32.7111 | 30.9462 | 400.6909 | 400.1831 | 18.7369 | 18.9498 | 42.1722 | 42.6512 | 499.6472 | 1500.4359 | 0.089752 | 101.2883 | 2.2794 | 0.017505 | 0.0496 | 0.013148 | 0.062597 | 0.012811 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83275 | 0.00018068 | 305.8611 | 304.1065 | 240.0697 | 2.3699 | 4.9707 | 49.0744 | 30.1247 | 31.8338 | 4.7303 | 0.0057936 | 1.9194 | 2.811 | 0.0036221 | 28.9969 | 0.71537 | 36.5826 | 400.0165 | 0.00032059
17 | 09:05:01 | 1231.5 | 0 | 0.11892 | 0.0055732 | 347.3618 | 0.174 | 3.0607 | 32.742 | 6 | 1.42 | 1 | 2.84 | 30.9558 | 32.742 | 30.9447 | 400.491 | 400.2646 | 18.7379 | 18.9429 | 42.1758 | 42.6372 | 499.643 | 1500.433 | 0.33184 | 101.288 | 2.2794 | 0.017505 | 0.0496 | 0.013148 | 0.062597 | 0.012811 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83274 | 0.000174 | 305.892 | 304.1058 | 240.0693 | 2.3688 | 4.9793 | 49.1602 | 30.2173 | 31.8489 | 4.7344 | 0.0055622 | 1.9187 | 2.8157 | 0.0034774 | 35.1836 | 0.86783 | 36.4907 | 400.208 | 0.00010843
18 | 09:05:08 | 1238.5 | 0 | -0.0038668 | 0.005835 | 381.1769 | 0.18244 | 3.0653 | 32.7495 | 6 | 1.42 | 1 | 2.84 | 30.9556 | 32.7495 | 30.942 | 399.7634 | 399.6805 | 18.7025 | 18.9174 | 42.0967 | 42.5805 | 499.656 | 1500.6094 | 0.26453 | 101.2879 | 2.2794 | 0.017505 | 0.0496 | 0.013148 | 0.062597 | 0.012811 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83276 | 0.00018244 | 305.8995 | 304.1056 | 240.0975 | 2.3638 | 4.9814 | 49.1809 | 30.2635 | 31.8525 | 4.7354 | 0.005823 | 1.9161 | 2.8193 | 0.0036404 | 38.6086 | 0.9537 | 36.4265 | 399.6823 | -3.5241e-06