## tea 8-22-17 eric_3
OPEN 6.3.4
Tue Aug 22 2017 09:17:09
Unit= | PSC-4474
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/2x3 LED.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | CsMchSD | HsMchSD | CrMchSD | HrMchSD | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "09:17:38 Lamp: Off"
Remark= | "09:17:38 CO2 Mixer -> OFF"
Remark= | "09:17:38 Coolers: Off"
Remark= | "09:17:38 Flow: Fixed -> 500 umol/s"
Remark= | "09:18:07 Lamp: ParIn -> 1500 uml"
Remark= | "09:18:38 CO2 Mixer: CO2R -> 400 uml"
Remark= | "09:21:02 Flow: Fixed -> 500 umol/s"
Remark= | "09:21:12 i8 a"
1 | 09:22:10 | 320.5 | 0 | 0.15082 | 0.0026838 | 291.8825 | 0.086814 | 3.1659 | 33.1603 | 6 | 1.42 | 1 | 2.84 | 31.3755 | 33.1603 | 31.3424 | 400.0047 | 399.7819 | 18.9695 | 19.0718 | 41.6917 | 41.9165 | 499.598 | 1500.0928 | 0.10392 | 101.2948 | 2.1895 | 0.0061489 | 0.34737 | 0.0036269 | 0.32754 | 0.0024013 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83266 | 8.6814e-05 | 306.3103 | 304.5255 | 240.0148 | 2.4092 | 5.0978 | 50.3263 | 31.2545 | 32.2679 | 4.848 | 0.0026813 | 1.9319 | 2.9161 | 0.001676 | 29.5662 | 0.7301 | 35.7246 | 399.7102 | 0.0001348
2 | 09:22:19 | 329.5 | 0 | -0.0048904 | 0.002614 | 382.9957 | 0.084591 | 3.1671 | 33.1685 | 6 | 1.42 | 1 | 2.84 | 31.3889 | 33.1685 | 31.3546 | 400.3291 | 400.2943 | 18.9838 | 19.0834 | 41.691 | 41.9098 | 499.6382 | 1500.0992 | 0.36728 | 101.2944 | 2.1895 | 0.0061489 | 0.34737 | 0.0036269 | 0.32754 | 0.0024013 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 8.4591e-05 | 306.3185 | 304.5389 | 240.0159 | 2.411 | 5.1001 | 50.3496 | 31.2662 | 32.2787 | 4.8509 | 0.0026116 | 1.933 | 2.9179 | 0.0016324 | 38.7953 | 0.95679 | 35.7276 | 400.2966 | -4.3648e-06
3 | 09:22:24 | 334.5 | 0 | 0.25124 | 0.002765 | 238.4338 | 0.089699 | 3.175 | 33.1963 | 6 | 1.42 | 1 | 2.84 | 31.3968 | 33.1963 | 31.3644 | 400.882 | 400.5372 | 18.9777 | 19.0834 | 41.6595 | 41.8915 | 499.6029 | 1500.0438 | 0.20549 | 101.2959 | 2.1895 | 0.0061489 | 0.34737 | 0.0036269 | 0.32754 | 0.0024013 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83267 | 8.9699e-05 | 306.3463 | 304.5468 | 240.007 | 2.4055 | 5.1081 | 50.4275 | 31.3441 | 32.2966 | 4.8558 | 0.0027623 | 1.9331 | 2.9228 | 0.0017267 | 24.1524 | 0.59529 | 35.6678 | 400.4177 | 0.0002238
Remark= | "09:22:37 i8 b"
4 | 09:24:34 | 464.5 | 0 | -1.0482 | 0.0046739 | 731.4425 | 0.1536 | 3.2174 | 33.3645 | 6 | 1.42 | 1 | 2.84 | 31.5461 | 33.3645 | 31.4896 | 400.7673 | 401.9519 | 18.9634 | 19.1443 | 41.2743 | 41.6681 | 499.6301 | 1499.4019 | 0.018895 | 101.2904 | 2.1895 | 0.0061489 | 0.34737 | 0.0036269 | 0.32754 | 0.0024013 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83272 | 0.0001536 | 306.5145 | 304.6961 | 239.9043 | 2.3691 | 5.1565 | 50.9082 | 31.7639 | 32.4553 | 4.8995 | 0.0046663 | 1.9391 | 2.9604 | 0.0029171 | 74.0881 | 1.8197 | 35.447 | 402.4502 | -0.00092324
5 | 09:24:39 | 469.5 | 0 | -0.66737 | 0.0039526 | 644.4757 | 0.13015 | 3.2229 | 33.3781 | 6 | 1.42 | 1 | 2.84 | 31.5553 | 33.3781 | 31.4983 | 400.8582 | 401.5968 | 18.9752 | 19.1286 | 41.2784 | 41.6119 | 499.6423 | 1499.3674 | 0.11101 | 101.2901 | 2.1895 | 0.0061489 | 0.34737 | 0.0036269 | 0.32754 | 0.0024013 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83274 | 0.00013015 | 306.5281 | 304.7053 | 239.8988 | 2.38 | 5.1604 | 50.947 | 31.8185 | 32.4667 | 4.9027 | 0.0039471 | 1.9375 | 2.9651 | 0.0024675 | 65.279 | 1.6048 | 35.3682 | 401.914 | -0.00058728
6 | 09:24:47 | 477.5 | 0 | 0.17383 | 0.0031591 | 295.4835 | 0.10448 | 3.2358 | 33.4234 | 6 | 1.42 | 1 | 2.84 | 31.5707 | 33.4234 | 31.5112 | 402.3381 | 402.0789 | 19.0077 | 19.1307 | 41.3123 | 41.5797 | 499.6451 | 1499.5403 | 0.30705 | 101.2887 | 2.1895 | 0.0061489 | 0.34737 | 0.0036269 | 0.32754 | 0.0024013 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83274 | 0.00010448 | 306.5734 | 304.7207 | 239.9264 | 2.3887 | 5.1735 | 51.0771 | 31.9464 | 32.497 | 4.9111 | 0.0031556 | 1.9377 | 2.9733 | 0.0019726 | 29.9291 | 0.73489 | 35.2511 | 401.9963 | 0.00015243
Remark= | "09:25:11 i8 c"
7 | 09:25:45 | 535.5 | 0 | -0.33063 | 0.0054482 | 475.7127 | 0.17934 | 3.2229 | 33.4334 | 6 | 1.42 | 1 | 2.84 | 31.67 | 33.4334 | 31.614 | 401.2873 | 401.5979 | 19.076 | 19.2872 | 41.227 | 41.6835 | 499.592 | 1500.4568 | 0.054323 | 101.2871 | 2.1895 | 0.0061489 | 0.34737 | 0.0036269 | 0.32754 | 0.0024013 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83265 | 0.00017934 | 306.5834 | 304.82 | 240.0731 | 2.3654 | 5.1764 | 51.1067 | 31.8195 | 32.5517 | 4.9262 | 0.0054378 | 1.9535 | 2.9727 | 0.0033996 | 48.1835 | 1.1845 | 35.5913 | 401.755 | -0.0002929
8 | 09:25:52 | 542.5 | 0 | -0.85843 | 0.0043179 | 690.6057 | 0.14305 | 3.242 | 33.4923 | 6 | 1.42 | 1 | 2.84 | 31.6839 | 33.4923 | 31.6285 | 400.1086 | 401.0706 | 19.0985 | 19.267 | 41.243 | 41.6069 | 499.6168 | 1500.3488 | 0.12872 | 101.287 | 2.1895 | 0.0061489 | 0.34737 | 0.0036269 | 0.32754 | 0.0024013 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83269 | 0.00014305 | 306.6423 | 304.8339 | 240.0558 | 2.3767 | 5.1935 | 51.2755 | 32.0085 | 32.5881 | 4.9364 | 0.0043113 | 1.9515 | 2.9849 | 0.0026952 | 69.9494 | 1.7219 | 35.3914 | 401.4787 | -0.00075673
9 | 09:25:58 | 548.5 | 0 | -0.59033 | 0.0039476 | 612.9472 | 0.13087 | 3.2438 | 33.4979 | 6 | 1.42 | 1 | 2.84 | 31.6952 | 33.4979 | 31.6417 | 399.6552 | 400.3011 | 19.1119 | 19.266 | 41.2449 | 41.5775 | 499.6407 | 1500.1206 | 0.2598 | 101.2851 | 2.1895 | 0.0061489 | 0.34737 | 0.0036269 | 0.32754 | 0.0024013 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 0.00013087 | 306.6479 | 304.8452 | 240.0193 | 2.383 | 5.1952 | 51.2926 | 32.0266 | 32.5965 | 4.9387 | 0.0039421 | 1.9514 | 2.9873 | 0.0024643 | 62.0824 | 1.5312 | 35.3675 | 400.5818 | -0.0005212
Remark= | "09:27:33 Flow: Fixed -> 500 umol/s"
Remark= | "09:27:59 i5 a"
10 | 09:28:40 | 710.5 | 0 | -2.043 | 0.0056393 | 942.5249 | 0.18742 | 3.2517 | 33.7067 | 6 | 1.42 | 1 | 2.84 | 32.1698 | 33.7067 | 32.1185 | 395.2252 | 397.5891 | 19.5713 | 19.7919 | 41.113 | 41.5765 | 499.6312 | 1499.0251 | 0.44641 | 101.2771 | 2.2956 | 0.001099 | 0.12829 | 0.0016009 | 0.10473 | 0.0019325 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83272 | 0.00018742 | 306.8567 | 305.3198 | 239.844 | 2.3884 | 5.2562 | 51.8993 | 32.1074 | 32.9382 | 5.0346 | 0.0056281 | 2.0045 | 3.0301 | 0.0035186 | 95.4562 | 2.3706 | 35.9624 | 398.5602 | -0.0018434
11 | 09:28:44 | 714.5 | 0 | -1.6012 | 0.0053343 | 844.4219 | 0.17763 | 3.2577 | 33.7237 | 6 | 1.42 | 1 | 2.84 | 32.1776 | 33.7237 | 32.128 | 394.6533 | 396.4915 | 19.5733 | 19.7824 | 41.0992 | 41.5382 | 499.6359 | 1498.9171 | 0.049601 | 101.2775 | 2.2956 | 0.001099 | 0.12829 | 0.0016009 | 0.10473 | 0.0019325 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 0.00017763 | 306.8737 | 305.3276 | 239.8267 | 2.3918 | 5.2612 | 51.9484 | 32.166 | 32.9506 | 5.0381 | 0.0053243 | 2.0035 | 3.0346 | 0.0033286 | 85.521 | 2.1297 | 35.8979 | 397.2527 | -0.0014469
12 | 09:28:52 | 723 | 0 | 2.0524 | 0.0046107 | -317.831 | 0.15329 | 3.2517 | 33.7026 | 6 | 1.42 | 1 | 2.84 | 32.197 | 33.7026 | 32.1467 | 400.0461 | 397.5083 | 19.5996 | 19.78 | 41.1088 | 41.4872 | 499.6359 | 1499.396 | 0.028344 | 101.2767 | 2.2956 | 0.001099 | 0.12829 | 0.0016009 | 0.10473 | 0.0019325 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 0.00015329 | 306.8526 | 305.347 | 239.9034 | 2.4104 | 5.255 | 51.8876 | 32.1076 | 32.9498 | 5.0379 | 0.0046032 | 2.0033 | 3.0346 | 0.0028777 | -32.1889 | -0.79956 | 35.9251 | 396.5326 | 0.0018595
13 | 09:28:58 | 729 | 0 | 0.62844 | 0.0046721 | 169.281 | 0.15551 | 3.2555 | 33.7153 | 6 | 1.42 | 1 | 2.84 | 32.2037 | 33.7153 | 32.155 | 400.8109 | 399.9815 | 19.5967 | 19.7798 | 41.087 | 41.4708 | 499.6374 | 1499.5942 | 0.261 | 101.2758 | 2.2956 | 0.001099 | 0.12829 | 0.0016009 | 0.10473 | 0.0019325 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83273 | 0.00015551 | 306.8653 | 305.3537 | 239.9351 | 2.4087 | 5.2587 | 51.925 | 32.1453 | 32.9595 | 5.0406 | 0.0046644 | 2.0032 | 3.0374 | 0.0029159 | 17.1441 | 0.42322 | 35.8964 | 399.6828 | 0.00056442
14 | 09:29:04 | 735 | 0 | -0.17579 | 0.0052234 | 432.6561 | 0.1738 | 3.2549 | 33.7107 | 6 | 1.42 | 1 | 2.84 | 32.2109 | 33.7107 | 32.1622 | 400.8203 | 400.9478 | 19.5687 | 19.7732 | 41.011 | 41.4397 | 499.6843 | 1499.4238 | 0.19013 | 101.2745 | 2.2956 | 0.001099 | 0.12829 | 0.0016009 | 0.10473 | 0.0019325 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83281 | 0.0001738 | 306.8607 | 305.3609 | 239.9078 | 2.401 | 5.2574 | 51.9123 | 32.139 | 32.9608 | 5.041 | 0.0052138 | 2.0025 | 3.0385 | 0.0032595 | 43.817 | 1.0791 | 35.9061 | 401.0313 | -0.00015739
Remark= | "09:29:27 i5 b"
15 | 09:29:56 | 787 | 0 | -1.0711 | 0.0098899 | 550.026 | 0.33153 | 3.283 | 33.9125 | 6 | 1.42 | 1 | 2.84 | 32.2703 | 33.9125 | 32.2295 | 400.6947 | 401.821 | 19.6941 | 20.0842 | 41.1345 | 41.9493 | 499.6451 | 1499.9292 | 0.081487 | 101.272 | 2.2956 | 0.001099 | 0.12829 | 0.0016009 | 0.10473 | 0.0019325 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83274 | 0.00033153 | 307.0625 | 305.4203 | 239.9887 | 2.3031 | 5.317 | 52.5019 | 32.4177 | 33.0914 | 5.0781 | 0.0098556 | 2.034 | 3.0441 | 0.0061628 | 55.7023 | 1.3688 | 36.1513 | 402.3302 | -0.00096247
16 | 09:30:01 | 792 | 0 | -1.0218 | 0.0098104 | 542.8728 | 0.32916 | 3.2859 | 33.9179 | 6 | 1.42 | 1 | 2.84 | 32.2804 | 33.9179 | 32.2384 | 400.0825 | 401.1508 | 19.6848 | 20.0721 | 41.0913 | 41.8998 | 499.7075 | 1499.9061 | 0.042515 | 101.2715 | 2.2956 | 0.001099 | 0.12829 | 0.0016009 | 0.10473 | 0.0019325 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83285 | 0.00032916 | 307.0679 | 305.4304 | 239.985 | 2.3048 | 5.3186 | 52.5181 | 32.4461 | 33.0992 | 5.0803 | 0.0097766 | 2.0327 | 3.0476 | 0.0061134 | 54.9775 | 1.3533 | 36.1132 | 401.6365 | -0.00091873
17 | 09:30:06 | 797 | 0 | -0.9178 | 0.010015 | 522.7463 | 0.33758 | 3.3012 | 33.9637 | 6 | 1.42 | 1 | 2.84 | 32.2937 | 33.9637 | 32.2486 | 399.7049 | 400.6446 | 19.6573 | 20.0546 | 41.0031 | 41.8317 | 499.6473 | 1499.7837 | 0.24092 | 101.2709 | 2.2956 | 0.001099 | 0.12829 | 0.0016009 | 0.10473 | 0.0019325 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111115 | 0.83275 | 0.00033758 | 307.1137 | 305.4437 | 239.9654 | 2.2957 | 5.3322 | 52.6527 | 32.5982 | 33.1287 | 5.0888 | 0.0099794 | 2.0309 | 3.0578 | 0.0062402 | 52.939 | 1.3048 | 35.9785 | 401.0809 | -0.00082331